## Slide 1: Development and validation of a serological assay for detection of Treponema pallidum
F022 – Biolab 2019
Andrew Lindsay
Supervisors: Tim Waterboer, Nicola Brenner, Rima Jeske

## Slide 2: Agenda
Biology of syphilis and Treponema pallidum
T.pallidum reference assays
Quality controls – DNA, protein, binding
Validation of the assay
Comparison of sample population to the general population

## Slide 3: Syphilis
Brought to Europe by Christopher Columbus
Highly transferable – up to 30% of cases had contact with carrier in last 30 days
6 million new cases per year (WHO); > 90% occur in developing countries
Characterized by:
  Lesions at site of contact, then spreading
  Late-stage can infect head, brain, lungs, bone
Source: Hans Holbein the Younger
Source: Shutterstock
Source: Wikipedia
Notes: Hans Holbein the Younger
Shutterstock
https://en.wikipedia.org/wiki/Neurosyphilis
An Update on the Global Epidemiology of Syphilis
Noah Kojima1 and Jeffrey D Klausner1,2

## Slide 4: Treponema pallidum
Type: Spirochete, Gram⊝
Size: 6-15 μm x 0.1-0.2 μm
Genome: 1.14 Mbp
Infects: Only human
Culturable: No
Treponema pallidum
Source: Wikipedia
Highly adapted to human internal enviroment
Three to six flagella ▶ allow invasion
Strictly extracellular ▶ high immune evasion
Very sensitive to penicillin

## Slide 5: Reference Assays for Tp Proteins
Particle agglutination assay
SERODIA®-TP-PA by Fujirebio
Direct ELISA
recomLine Treponema IgG / IgM - Mikrogen
Source: LSBio
Modified from : Arita et al.
Source: Mikrogen
Notes: Compare the two reference tests
https://jcm.asm.org/content/48/8/2698 Arita
https://www.lsbio.com/elisakits/mouse-anti-cardiolipin-antibody-igg-elisa-kit-indirect-elisa-ls-f10231/10231
https://www.mikrogen.de/english/products/product-overview/testsystem/treponema-igg-1.html

## Slide 6: Principle of Multiplex Serology
bead mix
1 serum / well
glutathione-casein
Tp species-specific GST fusion protein
biotin-labeled secondary antibody
streptavidin-R-phycoerythrin
Luminex® bead
Source: Waterboer et al. 2005

## Slide 7: Treponema-specific Proteins
Source: Kubanov et al. 2017
Outer membrane proteins highly variable
Low density of OM proteins (< 1%)
Two landmark reference studies: McGill et al. (IB), Brinkman et al. (ELISA)
  4 highest reactivity: Tp15, Tp17, Tp44, Tp47
  > 95% specificity and sensitivity, depending on stage of infection
Notes: Kubanov

## Slide 8: Development Quality Control
DNA ▶ PCR, Sequencing,
Restriction Digest
Binding ▶ ELISA
Protein ▶ Coomassie stain,
Western blot

## Slide 9: Plasmid construct for Tp proteins
Modified from: Eurofins

## Slide 10: DNA Quality Control (Tp47)
Second band present in PCR?
  forming secondary structure?
  dimeric configuration of product?
Colony PCR

## Slide 11: Protein Quality Control
Visible bands at expected sizes for Tp proteins
Some proteins are degraded during lysis

## Slide 12: Binding Quality Control
Gradient ➞➞➞
Binding at both ~1:100 and ~1:1000
Antigens should couple to the beadsets
Anti-TAg
GST-Tp-TAg
POX
Glu-casein

## Slide 13: Cohort Characteristics
Patient sera obtained from Prof. Dr. Schnitzler ▶ consists of all samples taken from all syphilis tests done over the last 4 years at the Universitätsklinikum.

## Slide 14: Control Antigens
Biased population ▶ test against control antigens
Hypothesis: Polyoma will have normal seroprevalence, STI’s will have elevated seroprevalence

## Slide 15: Visualizing Antigen MFI distribution
Threshold between positive and negative test ▶ Turning point method

## Slide 16: Calculating Initial Cutoffs for Antigens
Suspect biased sample ▶ Maximize with AUC curve

## Slide 17: Cut-offs compared to Reference Assay
Generate AUC curves ▶ Maximize sensitivity and specificity
A
B

## Slide 18: Optimization for Antigen Evaluation
Take consensus from antigen cutoffs
Multiple antigens used ▶ Increased sensitivity and specificity

## Slide 19: Confounding factors – extreme outliers
◀︎ Dilution problem
Negative samples with > 10x the cut-off:
Positive samples with < 10x the cut-off:
Notes: https://www.researchgate.net/publication/265299545_Chronic_neuroborreliosis_by_B_garinii_An_unusual_case_presenting_with_epilepsy_and_multifocal_brain_MRI_lesions

## Slide 20: Control antigens in case-controls
STI prevalence elevated compared to the general public
Polyoma prevalence shows to be mostly uniform
Notes: Prevalence of BK virus subtype I in Germany.
https://www.researchgate.net/publication/309465774_Prevalence_of_Chlamydia_trachomatis_infection_in_women_heterosexual_men_and_MSM_visiting_HIV_counselling_institutions_in_North_Rhine-Westphalia_Germany_-_should_Chlamydia_testing_be_scaled_up
Decreasing seroprevalence of herpes simplex virus type 1 and type 2 in Germany leaves many people susceptible to genital infection: time to raise awareness and enhance control.
High seroprevalence of Mycoplasma genitalium in the general adult population of Germany
Genotypes of JC virus in East, Central and Southwest Europe Hansju$rgen T. Agostini,1 Alison Deckhut,2 David V. Jobes,2† Rosina Girones,3 Gu$nther Schlunck,1 Marcin G. Prost,4 Carolina Frias,5 E. Pe!rez-Trallero,6 Caroline F. Ryschkewitsch2 and Gerald L. Stoner2
High prevalence of antibodies against polyomavirus WU, polyomavirus KI, and human bocavirus in German blood donors
Florian Neske,1 Christiane Prifert,1 Barbara Scheiner,1 Moritz Ewald,1 Jörg Schubert,1 Andreas Opitz,2 and Benedikt Weissbrich1
The seroepidemiology of herpes simplex virus type 1 and 2 in Europe
FREE
R G Pebody1,

## Slide 21: Control antigens between Syphilis +/-
STI’s are 3x more likely for Syphilis-positive
Polyoma is unchanged between the samples

## Slide 22: Conclusions
Treponema proteins can be used successfully in multiplex serology
  Sensitivity and specificity > 97%
Agreement of multiple antigens increases diagnostic power
  Fewer false positives and false negatives
Sample population has similar non-STI infection rates
  Polyoma consistent among samples
STI infection rates much higher in the sample population
  ~50% seroprevalence for Chlamydia
  Syphilis-positive have 3x the STI infection rate

## Slide 23
Thank you for your attention!

## Slide 25: Treponema pallidum
Type: Spirochete, Gram⊝
Size: 6-15 μm x 0.1-0.2 μm
Genome: 1.14 Mbp
Infects: Only human
Culturable: No
Treponema pallidum
Source: Wikipedia
Highly adapted to human internal enviroment
Three to six flagella ▶ allow invasion
Strictly extracellular ▶ high immune evasion
Very sensitive to penicillin

## Slide 26: Reference Assays for Tp Proteins
Sensitivity: 87-100%
Specificity: 95%
Particle agglutination assay
SERODIA®-TP-PA by Fujirebio
Direct ELISA
recomLine Treponema IgG / IgM - Mikrogen
Source: LSBio
Modified from : Arita et al.
Unknown antigens
4 wells per sera per antigen
Visual interpretation
Sensitivity: 100%
Specificity: 100%
Six Tp antigens: Tp15, Tp17, TmpA (Tp44), Tp47, Tp257 (Gpd), and Tp453
20 antigen maximum
Large test strips (5cm x 3mm)
Visual or scan interpretation
Source: Mikrogen
Notes: Compare the two reference tests
https://jcm.asm.org/content/48/8/2698 Arita
https://www.lsbio.com/elisakits/mouse-anti-cardiolipin-antibody-igg-elisa-kit-indirect-elisa-ls-f10231/10231
https://www.mikrogen.de/english/products/product-overview/testsystem/treponema-igg-1.html

## Slide 27: PCR QC (Tp15, Tp17, Tp44)
Colony PCR
Modified from: Takara
Inserts are flanked by T3 and T7 promoter sites ▶ PCR
All bands showing at the expected size
Notes: https://www.takarabio.com/learning-centers/pcr/technical-notes/colony-pcr-in-under-an-hour

## Slide 29: Coomassie Stain QC
Strong bands at expected sizes for Tp proteins
Some proteins are degraded during lysis
Pre-sequencing ▶ PCR clean-up to remove primers, polymerase, etc

## Slide 30: Restriction Digest
BamH1 and Sal1 flank the insert region ▶ linear and symmetric digestion
Minimal Digestion? Bad enzymes? Bad reaction buffer?
Restriction Sites

## Slide 31: Preparation for Sequencing
Pre-sequencing ▶ Concentration and quality were verified
Tp17
Tp44
Tp17
Tp17
Tp44
Tp17
Sequencing was very low quality (90% of bases <= 10 quality)

## Slide 32: Preperation for Sequencing
Conc. Range: 55 – 79 ng/μl
PCR - Raw
PCR - Clean
Conc. Range: 37 – 76 ng/μl
Higher 230 nm peak, slight EtOH contamination?
Correct size fragments, slight DNA loss from the clean-up
Update
Pre-sequencing ▶ PCR clean-up to remove primers, polymerase, etc
Notes: Pre-sequencing ▶ PCR clean-up to remove primers, polymerase, etc

## Slide 33: Sequencing
High quality among sequencing, except for 3’ ends

## Slide 34: Sequencing Alignment
After trimming, each sequence was identical to the reference
Low quality 3’ end ▶ sequence forward and reverse strands
Notes: Low quality 3’ end ▶ sequence forward and reverse strands

## Slide 35: Optimization for Antigen Evaluation
Minimize the False Negatives & Positives for each antigen
Check for statistical significance
Take consensus from antigen cutoffs

## Slide 36: Performance compared to single antigens
Multiple antigens used ▶ Increased sensitivity and specificity

## Slide 37: Confounding factors – extreme outliers
◀︎ Dilution problem
Negative samples with > 10x the cut-off:
Positive samples with < 10x the cut-off:
Source: Mikrogen
Direct ELISA: 6 antigens ▶︎
Visual assessment ▶︎
Source: Matera et al.
Notes: https://www.researchgate.net/publication/265299545_Chronic_neuroborreliosis_by_B_garinii_An_unusual_case_presenting_with_epilepsy_and_multifocal_brain_MRI_lesions